## Sheet1
pH meter Initial Demonstration of Capability
2017-09-19
Enter data in blue spaces only. The spreadsheet will automatically calculate average, Percent Recovery, and Relative Standard Deviation (RSD).
Analyst: | [5 empty] | (Use full name)
Analysis: | pH
SOP Information: | [5 empty] | (i.e. SOP#, revision # or revision date)
Matrix: | [5 empty] | (e.g. drinking water, wastewater, etc.)
instrument/meter manufacturer: | [5 empty] | (i.e. Manufacturer/Brand name/Model #)
meter serial number:
probe/electrode manufacturer: | [5 empty] | (i.e. Manufacturer/Brand name/Model #)
electrode serial number:
date of analysis:
pH buffer concentration: |  |  | Manufacturer: |  |  |  | Lot #: |  | Expiration date:
pH buffer concentration: |  |  | Manufacturer: |  |  |  | Lot #: |  | Expiration date:
pH buffer concentration: |  |  | Manufacturer: |  |  |  | Lot #: |  | Expiration date:
| known concen. | read 1 | read 2 | read 3 | read 4 | average | % recovery (must be 85-115) | RSD (must be ≤15)
Buffer 1 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Buffer 2 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Buffer 3 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Signature of Analyst:
Analyst Title:
Signature of Witness:
Witness Title: