<Insert Water System Title>

PWS ID# NV <insert 7 digit #>

**Emergency Response Plan**

Date Prepared: <XX/XX/20XX>

Template Version May 2024

Nevada Division of Environmental Protection

**Bureau of Safe Drinking Water**

|  |  |  |
| --- | --- | --- |
| **Acronym/Abbreviation** |  | **Definition** |
| µg/L |  | micrograms per liter |
| AWWA |  | American Water Works Association |
| BSDW |  | Bureau of Safe Drinking Water |
| BWO |  | Boil Water Order |
| CFR |  | Code of Federal Regulations |
| CFS |  | Cubic Feet per Second |
| CPWS |  | Community Public Water System |
| E. coli |  | Escherichia coli |
| EPA |  | United States Environmental Protection Agency |
| ERP |  | Emergency Response Plan |
| GPM |  | Gallons per Minute |
| IOC |  | Inorganic Chemicals |
| IT |  | Information Technology |
| MCL |  | Maximum Contaminant Level |
| mg/L |  | Milligrams per liter |
| MRDL |  | Maximum Residual Disinfectant Level |
| MGD |  | Million Gallons per Day |
| NAC |  | Nevada Administrative Code |
| NCWS |  | Non-Community Water System |
| NDEP |  | Nevada Division of Environmental Protection |
| NNPH |  | Northern Nevada Public Health (Formerly WCHD) |
| NRS |  | Nevada Revised Statute |
| NTNC |  | Non-transient/non-community |
| O&M |  | Operations and Maintenance |
| OSHA |  | Occupational Health and Safety Administration |
| OT |  | Operational Technology |
| ppm |  | parts per million |
| PWS |  | Public Water System |
| SCADA |  | Supervisory Control and Data Acquisition |
| SDWA |  | Safe Drinking Water Act |
| SMCL |  | Secondary Maximum Contaminant Levels |
| SNHD |  | Southern Nevada Health Department |
| SOC |  | Synthetic Organic Chemicals |
| TT |  | Treatment Technique |
| VOC |  | Volatile Organic Chemicals |
| WCHD |  | Washoe County Health Department (is now Northern Nevada Public Health (NNPH)) |

Table of Contents

[**Section 1: System Information – The Basics** 7](#_Toc165909424)

[1.1 System and Contact Information 7](#_Toc165909425)

[1.2 Service Area Map or Vicinity Map 8](#_Toc165909426)

[1.3 System Overview 9](#_Toc165909427)

[**Section 2: Chain of Command** 11](#_Toc165909428)

[2.1 Water System Contacts and Documents 11](#_Toc165909429)

[2.1.1 Owner/Manager/Director 11](#_Toc165909430)

[2.1.2 System Operators and Certifications 11](#_Toc165909431)

[2.1.3 Managerial & Administrative Contacts**:** 11](#_Toc165909432)

[2.1.4 Location of documents needed during an emergency. 11](#_Toc165909433)

[**Section 3: Notification** 12](#_Toc165909434)

[3.1 Local Emergency Response and Mitigation 12](#_Toc165909435)

[3.2 Regulatory Agencies and Contacts 12](#_Toc165909436)

[**Section 4**: **Effective Communication** 13](#_Toc165909437)

[4.1 Designate a Spokesperson 13](#_Toc165909438)

[4.2 Priority Customer Contact List: 13](#_Toc165909439)

[4.3 Media Contact List: 13](#_Toc165909440)

[4.4 Notification Types: 14](#_Toc165909441)

[**Section 5: Resources for Response to Emergencies** 16](#_Toc165909442)

[5.1 Service Contact List: 16](#_Toc165909443)

[5.2 Laboratories 16](#_Toc165909444)

[5.3 Suppliers and Vendors 16](#_Toc165909445)

[5.4 Contractors / Repair Services 16](#_Toc165909446)

[5.5 Emergency Equipment, Safety Materials, and Spare Parts 17](#_Toc165909447)

[5.6 Detection and Mitigation Strategies 17](#_Toc165909448)

[**Section 6: Hazard Responses for Specific Events** 18](#_Toc165909449)

[6.1 Core Response 18](#_Toc165909450)

[6.2 Water Main Break 20](#_Toc165909451)

[6.3 Loss of Power 21](#_Toc165909452)

[6.4 Mechanical Failure 22](#_Toc165909453)

[6.5 Hazards Resulting from Accidental or Malicious Events 23](#_Toc165909454)

[6.6 Natural Disasters 26](#_Toc165909455)

[**Section 7.0 Alternative Water Sources** 30](#_Toc165909456)

[**Section 8.0 Returning to Normal Operations** 30](#_Toc165909457)

**Section 1: System Information** **– The Basics**

The System information and mapping should be the same as in the Manual of O&M, but as described earlier, the ERP is intended to be a “grab and go” document when needed.

## 1.1 System and Contact Information

|  |  |
| --- | --- |
| **Name, Title, and Phone Number of Person Responsible for Maintaining and Updating the** **Emergency Response Plan** | Name:  Title:  Phone:  Cell:  Email: |

|  |  |
| --- | --- |
| System Number or Reference (SDWIS ID) |  |
| Identify the type of System:  • Community (C)  • Non-Transient Non-Community (NTNC)  • Transient Non-Community (TNC) |  |
| Distribution Classification Required (D1, D2, etc.) |  |
| Treatment Classification Required  (T1, T2, etc.) |  |
| System Name and Address |  |
| Location/Town |  |
| Population Served and Service Connections | Population:  Connections  No. of Residential Connections:\_\_\_\_ \_\_\_\_\_\_  No. of Commercial Connections:\_\_\_\_ \_\_\_\_  No. of Other Connections: \_\_\_\_\_\_ |
| System Owner |  |
| Seasonal Operation? Operational dates? |  |

## 1.2 Service Area Map or Vicinity Map

Please include or inserta drawing or attachment that shows the relationship of your system to other nearby communities within the general area to locate and orient your system for reference. Larger maps or schematics can be attached as an appendix with the location referenced in this section.

|  |
| --- |
| **Service Area / Vicinity Map** |
|  |

## 1.3 System Overview

Provide a brief narrative overview of the System/Facilities – Describe how the infrastructure components are connected: water sources, treatment, pumps, transmission and distribution system, storage facilities, and other features that would distinguish your system

|  |
| --- |
| **System/Facilities** |
|  |

Provide a graphic overview of the System/Facilities as previously described. Many systems may have maps or schematics 11”x14” or greater providing a general layout of system components. These can be attached in the appendix with the location referenced in this section of the ERP.

|  |
| --- |
| **Simplified Graphic and Flow of the Water System** |
|  |

**Section 2: Chain of Command**

The first awareness of a potential emergency is likely to be called in by another agency or member of the public. Identify the number that is publicized and provided to agencies. Whoever answers that call, will have the responsibility to document and make the first internal calls to inform the designated responsible person.

**Water System Contact to Report of Emergency**

|  |  |  |
| --- | --- | --- |
| **Phone Business Hours** | **Phone After Hours** | **Website Contact Email** |
|  |  |  |

## 2.1 Water System Contacts and Documents

### 2.1.1 Owner/Manager/Director

|  |  |  |  |
| --- | --- | --- | --- |
| **Name, Title** | **Phone** | **After Hours** | **Email** |
|  |  |  |  |

### 2.1.2 System Operators and Certifications

|  |  |  |  |
| --- | --- | --- | --- |
| **Name, Title** | **Distribution Grade** | **Treatment Grade** | **Phone** |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

### 2.1.3 Managerial & Administrative Contacts**:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Contact Name** | **Title** | **Phone** | **Email** |
| Staff/On-Call Engineer |  |  |  |  |
| Administrative Contact |  |  |  |  |
| Public Information Officer |  |  |  |  |
| Financial Contact |  |  |  |  |
| Legal Contact |  |  |  |  |
| Other |  |  |  |  |

### 2.1.4 Location of documents needed during an emergency.

|  |  |  |  |
| --- | --- | --- | --- |
| **Document** | **Physical Location** | **Digital Location** | **Duplication** |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

**Section 3: Notification**

## 3.1 Local Emergency Response and Mitigation

|  |  |
| --- | --- |
| **Police** | 911 |
| **Police (non-emergency)** |  |
| **Fire** | 911 |
| **Fire (non-emergency)** |  |
| **Hazmat** |  |
| **NDEP Spill Hotline** | (775) 687-9485 |
| **Others?** |  |

## 3.2 Regulatory Agencies and Contacts

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **NDEP BSDW** | **General Phone** | **Website** | | |
| BSDW Front Desk | (775) 687-9521 | <https://ndep.nv.gov/water/drinking-water> | | |
| All contacts for BSDW |  | [Bureau of Safe Drinking Water Contacts | NDEP (nv.gov)](https://ndep.nv.gov/contact-us/bureau-of-safe-drinking-water-contacts) | | |
| **Contact Title** | **Name** | **Email** | **Phone** | |
| BSDW Facility Manager |  |  | |  |
| Health District Facility Manager (if applicable) |  |  | |  |

# **Section 4**: **Effective Communication**

Communication with staff, customers, news media, and public is a critical part of emergency response. It is important to recognize staff and their families may be impacted by the emergency as well. Staff may not be effective or available if their homes or family are at risk of being harmed. Strategies to provide employee coverage or safety may need to be developed.

4.1 Designate a Spokesperson

Designate an individual and an alternate to be responsible for communicating the details of emergency events to customers, priority customers, and media.

|  |  |  |
| --- | --- | --- |
| **Spokesperson**  **Name** | **Phone** | **Email** |
|  |  |  |
|  |  |  |

## 4.2 Priority Customer Contact List:

|  |  |  |
| --- | --- | --- |
| **Agency/Organization** | **Name and Position** | **Contact Info** |
| **Hospital/Clinic** |  |  |
| **Schools** |  |  |
| **Convalescent Hospitals or similar** |  |  |
| **Health Compromised Customers** |  |  |

## 4.3 Media Contact List:

|  |  |  |
| --- | --- | --- |
| **Agency/Organization** | **Name and Position** | **Contact Info** |
| **Local Newspaper** |  |  |
| **Local Radio Station** |  |  |
| **Local TV Station** |  |  |

## 4.4 Notification Types:

When it comes to water quality impacts, there are different types of required minimum notifications depending upon the potential degree of hazard.

**Tier 1 - Notify within 24 hours.** Any time a situation occurs where there is the potential for human health to be immediately impacted, water suppliers have 24 hours to notify people who may drink the water of the situation. Water suppliers must use media outlets such as television, radio, and newspapers, post their notice in public places, or personally deliver a notice to their customers in these situations.

Tier 1 violations are:

* E. coli MCL violations; failure to test for E. coli.
* Nitrate/Nitrite MCL violation; failure to take confirmation.
* Chlorine Dioxide MRDL violation; failure to take repeat.
* Exceedance of maximum turbidity level, where NDEP BSDW determines Tier 1 is required.
* Nitrate exceedances for NCWS allowed to exceed standard.
* Waterborne disease outbreak or another waterborne emergency
* Other situations as determined by the NDEP BSDW

**Tier 2 - Notify as soon as possible, but within 30 days of the violation.** Any time a water system provides water with levels of a contaminant that exceed EPA or state standards or that has not been treated properly, but that does not pose an immediate risk to human health, the water system must notify its customers as soon as possible, but within 30 days of the violation. Notice may be provided via the media, posting, or through the mail.

Tier 2 violations are:

* All other MCL, MRDL, and TT violations that are not Tier 1.
* Monitoring and testing procedure violations, where NDEP BSDW requires a Tier 2 (rather than Tier 3) notice.
* Failure to comply with variance and exemption (V&E) conditions

**Tier 3 - Notify within one year of the violation.** When water systems violate a drinking water standard that does not have a direct impact on human health (for example, failing to take a required sample on time) the water supplier has up to one year to provide notice of this situation to its customers. The extra time gives water suppliers the opportunity to consolidate these notices and send them with annual water quality reports (consumer confidence reports).

Tier 3 violations are:

* All other monitoring or testing procedure violations not already requiring a tier 1 or tier 2 notice.
* Operation under a Variance or Exemption
* Special public notices:
  + Exceedance of Fluoride SMCL
  + Announcing the availability of unregulated monitoring results

**Notification Resources:**

Boil Water Orders are available at [Do Not Drink & Boil Water Orders | NDEP (nv.gov)](https://ndep.nv.gov/water/drinking-water/information-for-public-water-systems/do-not-drink-boil-water-orders) and include;

* E. coli Present samples
  + [Precautionary Boil Water Order Public Notice](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/BWO_Unconfirmed_E._coli_(2019).doc)
  + [Official Boil Water Order Public Notice English](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/BWO_Confirmed_Ecoli_PN_(2019l).doc)
  + [Official Boil Water Order Public Notice Spanish](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/bwo_confirmed_ecoli_pn_official_spanish.doc)
* Other Boil Water Order Events Boil Water Rescind Notice
  + [Precautionary Boil Water Order Guidance for Public Water Systems](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/precautionary_boil_water_guidance.doc)
  + [Loss of Pressure Boil Water Order Public Notice](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/BWO_Precautionary_LOP_(2019).doc)
  + [Boil Water Order Rescind Notice Template](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/bwo_sample_rescind_notice_wate_systems.doc)
* Do Not Drink Orders
  + [Nitrate Public Notice Template](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/nitrate_do_not_drink_english_spanish.doc)
  + [Unknown Water Quality Public Notice Template](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/DoNotDrink_PN_Unknown_(2019).doc)
  + [Do Not Drink Notice Rescind Template](https://ndep.nv.gov/uploads/water-drinking-pws-donotdrink-docs/do_not_drink_sample_rescind_notice.doc)

# **Section 5: Resources for Response to Emergencies**

## 5.1 Service Contact List:

|  |  |  |
| --- | --- | --- |
| **Agency/Organization** | **Name and Position** | **Contact Info** |
| **Engineering Firm** |  |  |
| **Electric Utility** |  |  |
| **Gas/Propane Supplier** |  |  |
| **Phone Providers** |  |  |
| **Chlorine/ Other Chemical Supplier** |  |  |
| **Rental Equipment. Supplier** |  |  |

## 5.2 Laboratories

|  |  |  |  |
| --- | --- | --- | --- |
| **Name** | **Address** | **Phone** | **Lab Capabilities** |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

## 5.3 Suppliers and Vendors

|  |  |  |
| --- | --- | --- |
|  | **Name** | **Phone** |
| Pipe Supply |  |  |
| Chemicals |  |  |
| Pumps / Motors |  |  |
| Safety |  |  |
| Others? |  |  |
|  |  |  |
|  |  |  |

## 5.4 Contractors / Repair Services

|  |  |  |
| --- | --- | --- |
|  | **Name** | **Phone / Emergency Phone** |
| Pipe Repairs |  |  |
| Electrician |  |  |
| Plumber |  |  |
| Well Driller |  |  |
| SCADA. |  |  |
| Tank Divers |  |  |
| Others? |  |  |

## **5.5 Emergency Equipment, Safety Materials, and Spare Parts**

**All utility personnel should know the location of all equipment and safety materials needed during emergencies. Inventory should be recorded and restocked as supplies are depleted. A spare parts inventory must be maintained in your Manual of O&M. Ideally, your utility should maintain a single web based Spare Parts Inventory that could be easily referenced and updated.**

|  |  |  |  |
| --- | --- | --- | --- |
| **Item(s)** | **Location** | **Amount Available in Stock** | **Restock Date** |
| **PPE (hard hats, gloves, flashlights, safety glasses, coveralls)** |  |  |  |
| **Flares** |  |  |  |
| **Traffic Cones** |  |  |  |
| **Pagers/ Walkie-Talkies (alternative communication)** |  |  |  |
| **Batteries** |  |  |  |
| **Chlorine** |  |  |  |

## **5.6 Detection and Mitigation Strategies**

**Detection strategies can help prevent, detect, and minimize the severity of line breaks, loss of power, mechanical failures, natural disasters, or malevolent acts. Preventative actions are generally preferable to reactive responses to emergency events because they save time and resources and limit potential exposures to hazards. With time, experience, and events, you may identify additional means to detect and/or mitigate a potential problem. If implemented, the practice should be added to your routine Manual of Operations and Maintenance.**

# **Section 6: Hazard Responses for Specific Events**

## 6.1 Core Response

The core response is required of all systems. These are the events likely to occur at any system and should be updated accordingly. Complete the hazard analysis for water main breaks, power outages, mechanical failures, weather related impacts, accidental or intentional malevolent acts that adversely affect the ability to produce or deliver water that meets requirements. If there is a hazard that is specific, please create an analysis using the generic template.

For any emergency event, there are a series of general steps to take:

* Analyze the type and severity of the emergency
* Take immediate actions to save lives
* Take action to reduce injuries and system damage
* Report to appropriate management staff and regulatory representatives
* Initiate response actions
* Prepare key messages to notify customers and media
* Make repairs based on priority demand
* Coordinate with regulatory agencies, when cleared, return the system to normal operation
* Notify customers and media
* **Post emergency review – these** have a threefold purpose. They provide an opportunity for everyone involved in an event to: 1) identify areas in the current emergency response plan that need improvement; 2) make recommendations to improve it; and 3) debrief and capture key lessons learned.

The following table is provided as a generic format for a Hazard Response narrative describing a potential event and actions. **COPY FORMAT AND ADD AS MANY EVENTS AS NECESSARY**

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess the impacts to the entire system (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** |  |
| **Mitigations** |  |
| **Follow-up Actions** |  |

Narratives for the identified hazards, how they may impact your system’s components, and your system’s response must be prepared and included in Section 6 of your ERP. All information should be customized to reflect your system’s needs. If a hazard is extremely low risk, please indicate it is not applicable and provide an explanation.

## 6.2 Water Main Break

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Immediate Actions** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

## 6.3 Loss of Power

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

## 6.4 Mechanical Failure

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

## 6.5 Hazards Resulting from Accidental or Malicious Events

When it comes to emergency preparedness for a water system, it's critical to consider the possibility of man-made calamities, such as hazardous material spills, vandalism, cyber-attacks, and other malicious actions. These events can have severe consequences on the safety and reliability of the system, as well as the health and well-being of those who rely on it. Therefore, it's essential to have a robust emergency response plan in place that accounts for these potential scenarios and outlines specific procedures for mitigating their impacts. Your Hazard Response for these emergencies will assist in minimizing damage, protect public health and safety.

#### 6.5.1 Hazardous Materials

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

#### 6.6.2 Vandalism / Security Threat

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

#### 6.6.3 Cyber Security Breach

Cybersecurity is an increasing hazard for utilities. More and more utilities are the target of ransomware or facility disruption. You may think a small water system in rural Nevada would not be at risk. There is always the risk of a disgruntled employee or hacker starting small looking to go big.

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations.    [Report the incident](https://www.cisa.gov/forms/report) to the Federal Bureau of Investigations (FBI) or Cybersecurity and Infrastructure Security Agency (CISA) or to the US EPA |
| **Mitigations** |  |
| **Follow-up Actions** |  |

## **6.6 Natural Disasters**

There are many natural disasters that can impact your water system facilities. An event may impact facilities in multiple ways.

#### 6.6.1 Drought

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

#### 6.6.2 Earthquake

Clearly a major earthquake near the epicenter may have significant impacts on the water system. However, earthquakes miles away can have an impact on your system depending upon soils and geology. Check your system for impacts such as: cracks, shifts in foundations, change in water quality or line breaks.

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

#### 6.6.3 High Winds

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

#### 6.5.4 Flood

|  |  |
| --- | --- |
| **Nature of the Event/Emergency** |  |
| **Assess the Immediate Emergency** |  |
| **Immediate Actions** |  |
| **Assess impacts to the entire system for secondary impacts (Water source, pumping systems, storage, distribution components)** |  |
| **Notifications** | Notify NDEP BSDW initially, and during if any conditions change, then when the emergency has been mitigated and ready to return to normal operations. |
| **Mitigations** |  |
| **Follow-up Actions** |  |

# **Section 7.0 Alternative Water Sources**

Alternative water sources should be identified to ensure a safe and continuous supply of drinking water will be available to customers in the event of an emergency. If another water utility is located nearby an opportunity for interconnection may exist. When no possibility for an intertie exists, arrangements should be made to purchase water from a water hauler or from a bottled water supplier.

|  |  |  |
| --- | --- | --- |
| **Water Source** | **Supplier Name** | **Contact Info** |
| **Inter-connection w/ Partner Utility** |  |  |
| **Approved Water Hauler** |  |  |
| **Bottled Water Supplier** |  |  |

# **Section 8.0 Returning to Normal Operations**

In the conclusion of any emergency event, identify the general and specific steps to take for your system: